## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 0
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 0
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 0 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 0 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 0 | MWh | MALANA-II | 0 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) | [8 empty] | HOLI BAJOLI | 0 | MWh |  |  |  |  | 1 | 00.00-00.15 | 0 |  | 0
|  | Month/Day :- |  |  |  |  | 09-05-2024 | [10 empty] | Min.DEMAND(MW) |  | 1088 |  | ACTUAL OWN GENERATION |  |  | 0 | MWh | SWARA KUDDU | 0 | MWh |  |  |  |  | 2 | 00.15-00.30 | 0 |  | 0
[34 empty] | 3 | 00.30-00.45 | 0 |  | 0 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | x | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 0 | 0 | 0 | 0 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 0 |  | 0 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[34 empty] | 6 | 01.15-01.30 | 0 |  | 0 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[34 empty] | 7 | 01.30-01.45 | 0 |  | 0
[34 empty] | 8 | 01.45-02:00 | 0 | 0 | 0 | 0
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 0 |  | 0
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 0 |  | 0
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 0 |  | 0
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 0 | 0 | 0 | 0
1 | 736.67 | 60.06 | 258.33 | 50 | 81 | 198 | 1384.05 | -210.61 | 1173.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.44 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 03.00-03.15 | 0 |  | 0 |  | 0 | 1
2 | 608.78 | 59.81 | 252.77 | 50 | 0.5 | 198 | 1169.86 | -17.18 | 1152.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152.68 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 03.15-03.30 | 0 |  | 0 |  | 0 | 2
3 | 608.17 | 43.86 | 161.26 | 50 | 0 | 198 | 1061.3 | 64.88 | 1126.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.17 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 03.30-03.45 | 0 |  | 0 |  | 0 | 3
4 | 599.19 | 42.87 | 60.66 | 50 | 0 | 198 | 950.72 | 137.28 | 1088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1088 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 03.45-04.00 | 0 | 0 | 0 | 0 | 0 | 4
5 | 615.4 | 42.87 | 93.27 | 50 | 0 | 198 | 999.54 | 148.15 | 1147.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1147.68 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 04.00-04.15 | 0 |  | 0 |  | 0 | 5
6 | 677.45 | 54.33 | 138.26 | 98.75 | 0 | 198 | 1166.79 | 135.2 | 1301.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1301.99 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 04.15-04.30 | 0 |  | 0 |  | 0 | 6
7 | 655.81 | 65.79 | 181.99 | 100 | 19.5 | 198 | 1221.09 | 307.48 | 1528.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1528.58 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 04.30-04.45 | 0 |  | 0 |  | 0 | 7
8 | 640.73 | 65.79 | 160.76 | 99.75 | 37 | 198 | 1202.03 | 418.97 | 1621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1621 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 04.45-05.00 | 0 | 0 | 0 | 0 | 0 | 8
9 | 612.52 | 65.79 | 120.32 | 30.75 | 37 | 177.25 | 1043.63 | 547.47 | 1591.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1591.1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 05.00-05.15 | 0 |  | 0 |  | 0 | 9
10 | 591.57 | 39.88 | 145.59 | 30 | 37 | 107.75 | 951.79 | 643.06 | 1594.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1594.85 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 05.15-05.30 | 0 |  | 0 |  | 0 | 10
11 | 548.53 | 20.19 | 95.04 | 30 | 66 | 91.5 | 851.26 | 683.82 | 1535.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.08 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 05.30-05.45 | 0 |  | 0 |  | 0 | 11
12 | 529.35 | 12.96 | 109.19 | 30 | 74 | 124.75 | 880.26 | 653.57 | 1533.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1533.83 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 05.45-06.00 | 0 | 0 | 0 | 0 | 0 | 12
13 | 555.67 | 12.96 | 202.97 | 30 | 74 | 134 | 1009.59 | 515.98 | 1525.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1525.57 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 06.00-06.15 | 0 |  | 0 |  | 0 | 13
14 | 557.04 | 12.96 | 126.89 | 0 | 37.5 | 133.5 | 867.89 | 609.67 | 1477.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1477.56 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 06.15-06.30 | 0 |  | 0 |  | 0 | 14
15 | 543.3 | 12.96 | 175.67 | 30 | 37 | 169.25 | 968.18 | 538.39 | 1506.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1506.57 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 06.30-06.45 | 0 |  | 0 |  | 0 | 15
16 | 547.38 | 13.46 | 136.49 | 30 | 0 | 162.75 | 890.08 | 648 | 1538.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.08 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 06.45-07.00 | 0 | 0 | 0 | 0 | 0 | 16
17 | 555.52 | 43.12 | 122.09 | 40.25 | 0 | 162.25 | 923.22 | 624.36 | 1547.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.58 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 07.00-07.15 | 0 |  | 0 |  | 0 | 17
18 | 590.44 | 43.86 | 121.33 | 50 | 0.75 | 163 | 969.38 | 519.68 | 1489.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1489.06 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 07.15-07.30 | 0 |  | 0 |  | 0 | 18
19 | 622.16 | 43.86 | 114.76 | 50 | 37 | 173.75 | 1041.53 | 386.51 | 1428.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.04 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 07.30-07.45 | 0 |  | 0 |  | 0 | 19
20 | 633.72 | 42.87 | 113.24 | 50 | 37 | 200 | 1076.83 | 401.98 | 1478.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1478.81 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 07.45-08.00 | 0 | 0 | 0 | 0 | 0 | 20
21 | 641.59 | 60.31 | 121.33 | 50 | 37.75 | 200.5 | 1111.48 | 357.32 | 1468.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.8 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 08.00-08.15 | 0 |  | 0 |  | 0 | 21
22 | 657.08 | 59.81 | 173.4 | 50 | 74 | 200 | 1214.29 | 197.49 | 1411.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1411.78 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 08.15-08.30 | 0 |  | 0 |  | 0 | 22
23 | 659.79 | 59.81 | 260.1 | 50 | 81 | 200 | 1310.7 | 27.81 | 1338.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1338.5 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 08.30-08.45 | 0 |  | 0 |  | 0 | 23
24 | 630.52 | 59.81 | 302.31 | 50 | 81 | 200 | 1323.64 | -57.92 | 1265.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1265.73 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 08.45-09.00 | 0 | 0 | 0 | 0 | 0 | 24
[34 empty] | 37 | 09.00-09.15 | 0 |  | 0
TOTAL (in MWh) | 14618.38 | 1039.99 | 3748.02 | 1149.5 | 849 | 4184.25 | 25589.13 | 33870.48 | 8281.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33870.48 | TOTAL | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 38 | 09.15-09.30 | 0 |  | 0
[34 empty] | 39 | 09.30-09.45 | 0 |  | 0
[34 empty] | 40 | 09.45-10.00 | 0 | 0 | 0 | 0
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.01; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 0 |  | 0
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1621; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 0 |  | 0
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1621; 5+6 P6 14: MW | MAX = | 0 | [10 empty] | 43 | 10.30-10.45 | 0 |  | 0
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1088; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 0 | [10 empty] | 44 | 10.45-11.00 | 0 | 0 | 0 | 0
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14618.38; 5+6 P6 14: MWH; 5+6 P11 19: 16.87; 5+6 P11/1000 20: 14601.51 | [12 empty] | 45 | 11.00-11.15 | 0 |  | 0
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 3748; 5+6 P6 14: MWH; 5+6 P11 19: 5.8; 5+6 P11/1000 20: 3742.2 | [12 empty] | 46 | 11.15-11.30 | 0 |  | 0
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1040; 5+6 P6 14: MWH; 5+6 P11 19: 2.86; 5+6 P11/1000 20: 1037.14 | [12 empty] | 47 | 11.30-11.45 | 0 |  | 0
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 0 | 0 | 0 | 0
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 60; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 0 |  | 0
|  |  | Max.generation of Malana at 2100 Hrs. | [30 empty] | 50 | 12.15-12.30 | 0 |  | 0 | bar: 5+6 P6 14
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 0
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 618.43; 5+6 P4 12: 622.55; 5+6 P11 19: 146.18; 5+6 P11/1000 20: 146.02 | [12 empty] | 51 | 12.30-12.45 | 0 |  | 0
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 123.28; 5+6 P4 12: 161.31; 5+6 P11 19: 33.99; 5+6 P11/1000 20: 33.88 | [12 empty] | 52 | 12.45-13.00 | 0 | 0 | 0 | 0
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 495.15; 5+6 P4 12: 461.24; 5+6 P11 19: 112.19; 5+6 P11/1000 20: 112.14 | [12 empty] | 53 | 13.00-13.15 | 0 |  | 0
[34 empty] | 55 | 13.30-13.45 | 0 |  | 0
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 0 | [12 empty] | 56 | 13.45-14.00 | 0 | 0 | 0 | 0
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 0 |  | 0 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 0 |  | 0
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 0 |  | 0
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 0 |  | 0
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 0 |  | 0
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 0 |  | 0
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 0 |  | 0
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 0 |  | 0
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 0 |  | 0
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 0 |  | 0
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 0 |  | 0
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 0 |  | 0
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 0 |  | 0
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 0 |  | 0
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 0 |  | 0
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 0 |  | 0
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 0 |  | 0
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 0 |  | 0
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 0 |  | 0
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 0 |  | 0
Total | [33 empty] | 83 | 20.30-20.45 | 0 |  | 0
[34 empty] | 84 | 20.45-21.00 | 0 | 0 | 0 | 0
[34 empty] | 85 | 21.00-21.15 | 0 |  | 0
[34 empty] | 86 | 21.15-21.30 | 0 |  | 0
[34 empty] | 87 | 21.30-21.45 | 0 |  | 0
[34 empty] | 88 | 21.45-22.00 | 0 | 0 | 0 | 0
[34 empty] | 89 | 22.00-22.15 | 0 |  | 0
[34 empty] | 90 | 22.15-22.30 | 0 |  | 0
[34 empty] | 91 | 22.30-22.45 | 0 |  | 0
[34 empty] | 92 | 22.45-23.00 | 0 | 0 | 0 | 0
[34 empty] | 93 | 23.00-23.15 | 0 |  | 0
[34 empty] | 94 | 23.15-23.30 | 0 |  | 0
[34 empty] | 95 | 23.30-23.45 | 0 |  | 0
[34 empty] | 96 | 23.45-24.00 | 0 | 0 | 0 | 0
[35 empty] | Total | 0 | 0 | 0 | 0
[35 empty] | max | 0 |  | avg. max | 0
[35 empty] | min | 0 |  | avg. min | 0